## Slide 1
Power Calculation
Parameter
Existing System
Optimized System
Flow Rate (m³/hr)
1600
1150
Head (m)
15
15
Pump Efficiency
0.75
0.75
Power (kW)
87.2
62.7
Power Saved: 24.5 kW
Annual Savings
Assuming an electricity rate of ₹7 per unit (kWh), the annual cost saving is estimated at approximately ₹14.4 lakhs.
Annual Cost Saving = 24.5 kW × 24 × 350 × ₹7 ≈ ₹14.4 lakhs
This represents a major OPEX saving, contributing to long-term sustainability and reducing mechanical stress on pumps.
Cost Saving Estimation
Notes: 1.7.2013
9
‹#›

## Slide 2
Power Consumption
Formula used :
Notes: 1.7.2013
10
‹#›

## Slide 3
Power Consumption
P1 =
P1 = 254 Kw
P2 =
P2 = 152.4 Kw
Difference in Power = P2 – P1 = 101.6 Kw
Notes: 1.7.2013
10
‹#›

## Slide 4
Annual power saving: ~15 kW × 8000 hr × ₹7/kWh = ₹8.4 lakh/year
Pump Power Consumption – Before & After Optimization
Chart: Power Conumptio
| Category 1
Series 1 | 254
Series 2 | 153
Notes: 1.7.2013
5
‹#›

## Slide 5
01
02
03
04
05
06
Lorem Ipsum is simply dummy text of the printing and typesetting industry
Lorem Ipsum is simply dummy text of the printing and typesetting industry
Lorem Ipsum is simply dummy text of the printing and typesetting industry
Lorem Ipsum is simply dummy text of the printing and typesetting industry
Lorem Ipsum is simply dummy text of the printing and typesetting industry
Lorem Ipsum is simply dummy text of the printing and typesetting industry
Challenges PowerPoint Template